POLICY DOCUMENT 1: Health & Safety Standards Policy

(For Trinity United Church & Wesley Centre)

1. Purpose

This policy sets out the Health & Safety standards required across all church buildings and associated facilities. Its aim is to ensure a safe environment for staff, volunteers, hirers, contractors, and visitors, in line with UK Health & Safety legislation and best practice.

2. Scope

This policy applies to:

- Trinity United Church

- Wesley Centre

- All rooms, halls, offices, kitchens, plant rooms, and external areas

- All staff, volunteers, contractors, and building hirers

3. Responsibilities

3.1 Centre Manager

- Ensures compliance with Health & Safety legislation.

- Maintains all statutory inspections (fire, gas, electrical, water).

- Provides training and briefings to staff, volunteers, and hirers.

3.2 Staff & Volunteers

- Follow all safety procedures and report hazards immediately.

- Complete required training (fire safety, COSHH, manual handling).

3.3 Hirers

- Must comply with all building safety rules and emergency procedures.

- Must not access rooms or equipment not included in their booking.

3.4 Contractors

- Must provide risk assessments, method statements, and proof of competence.

- Must sign in/out and follow site safety rules.

4. General Building Safety

- Keep all access routes, corridors, and exits clear.

- Maintain adequate lighting internally and externally.

- Ensure floors are clean, dry, and free from trip hazards.

- Display emergency information at key entry points.

- Keep plant rooms locked and free from storage.

5. Fire Safety

- Maintain an up-to-date Fire Risk Assessment for each building.

- Test fire alarms weekly and record results.

- Service fire extinguishers annually.

- Keep fire doors closed and unobstructed.

- Provide all hirers with a fire safety briefing.

- Ensure evacuation routes and assembly points are clearly signed.

6. Electrical Safety

- PAT test all portable appliances annually.

- Complete fixed wiring inspections every 5 years (EICR).

- Remove damaged equipment from use immediately.

- Ensure only trained personnel operate specialist equipment.

7. Gas & Heating Safety

- Maintain annual Gas Safety Certificates for all boilers and gas appliances.

- Service boilers and water heaters annually.

- Keep boiler rooms locked and accessible only to authorised personnel.

8. Water Safety (Legionella Control)

- Flush little-used outlets weekly.

- Maintain hot water at ≥50°C and cold water <20°C.

- Record all checks in the Water Safety Log.

- Ensure tanks and pipework are inspected as required.

9. Hazardous Substances (COSHH)

- Store all chemicals in locked cupboards.

- Maintain COSHH sheets for all products.

- Provide PPE and training for staff and volunteers.

- Never mix chemicals or decant into unlabelled containers.

10. First Aid & Incident Reporting

- Maintain stocked first aid kits in accessible locations.

- Display names of trained first aiders.

- Record all accidents and near misses in the Accident Book.

- Report RIDDOR incidents as required.

11. Lone Working

- Staff and volunteers must sign in/out when working alone.

- Keep a charged mobile phone available.

- Avoid hazardous tasks when alone (e.g., ladder use, heavy lifting).

12. Review

This policy will be reviewed annually or following any significant incident, building change, or legislative update.